## Cover Page
ANNEXURE D - BILL OF QUANTITIES
RFP NO: | RFP No. 6596/29/10/2025
RFP NAME: | Provision of the design, supply, installation and commissioning of gas suppression and fire detection and alarm systems in Rooms 27 and 31 at CSIR Rosebank (Cape Town.
BIDDER NAME

## Preliminaries & Generals
SUBJECT : BILL OF QUANTITIES
PART 1
Provision of the design, supply, installation and commissioning of gas suppression and fire detection and alarm systems in Rooms 27 and 31 at CSIR Rosebank (Cape Town.
BILL NO. 1 - PRELIMINARIES & GENERAL
ITEM NO | DESCRIPTION | UNIT | RATE | TENDERED BOQ QUANTITY | TENDERED AMOUNT
Preliminaries and General
1.001 | Establishment of Site | sum | 0 | 1 | 0
1.002 | Twelve month guarantee | sum | 0 | 1 | 0
1.003 | Workshop drawings | sum | 0 | 1 | 0
1.004 | As-Built drawings | sum | 0 | 1 | 0
1.005 | Builder's work & making good | sum | 0 | 1 | 0
1.006 | Testing, commissioning & programming of gas suppression, fire detection & alarm system | sum | 0 | 1 | 0
1.007 | Transportation | sum | 0 | 1 | 0
1.008 | Hiring of scaffolding and Rigging of the equipments | sum | 0 | 1 | 0
1.009 | Issuing of Compliance Certificate (COC) | sum | 0 | 1 | 0
1.01 | Training of staff | sum | 0 | 1 | 0
1.011 | Handover documentation 1 x archlever file & 1 x flashdrive | sum | 0 | 1 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
Company Representative: Name |  |  | Capacity
Signature |  |  | Date

## Fire
SUBJECT : BILL OF QUANTITIES
PART 2
Provision of the design, supply, installation and commissioning of gas suppression and fire detection and alarm systems in Rooms 27 and 31 at CSIR Rosebank (Cape Town.
BILL NO. 2 - FIRE
ITEM NO | DESCRIPTION | UNIT | RATE | TENDERED BOQ QUANTITY | TENDERED AMOUNT
BUILDING 2
2.001 | Design of Energen gas suppression, fire detection and alarm systems in accordance with SANS 14520 for room 27. The room sizes are 23 meter square and 3 meter high (FFL to Soffit of slab.) | Sum | 0 | 1 | 0
2.002 | Design of Energen gas suppression, fire detection and alarm systems in accordance with SANS 14520 for room 31. The room sizes are 21 meter square and 3 meter high (FFL to Soffit of slab.) | Sum | 0 | 1 | 0
2.003 | Construction (procurement of materials for the installation, this will include all smoke detectors, wiring, conduits, gas cylinders, pipes, nozzles etc) - devices to be compatible to the selected Gas Control Panel (GCU). | Sum | 0 | 1 | 0
2.004 | Allow for fire detection configuration/interfacing to HVAC system. | Sum | 0 | 1 | 0
2.005 | Conduct room integrity test and resolve all non-compliance items to make the compliant | Sum | 0 | 1 | 0
2.006 | Manufacture, supply and install 120 min Class D Fire Door (Manufactured to SANS1253:2016), including frame. Class D Capped & Cladded Double Fire Door, 1340X2330 with 280mm steel frame to suit. Accoustic rated with peremiter and drop down seals to be included. | Sum | 0 | 1 | 0
2.007 | Manufacture, supply and install 120 min Class D Fire Door (Manufactured to SANS1253:2016), including frame. Class D Capped & Cladded Double Fire Door, 1380X2350 with 280mm steel frame to suit.Accoustic rated with perimeter and drop down seals to be included. | Sum | 0 | 1 | 0
2.008 | Design and installation sign off by registered Professional Engineer or Technologist with ECSA. | Sum | 0 | 1 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
Company Representative: Name |  |  | Capacity
Signature |  |  | Date

## Summary
SUBJECT : BILL OF QUANTITIES
PART 3
Provision of the design, supply, installation and commissioning of gas suppression and fire detection and alarm systems in Rooms 27 and 31 at CSIR Rosebank (Cape Town.
BILL NO. 3 - SUMMARY
ITEM NO | DESCRIPTION | FROM PART NO. | PAGE NO. | TENDERED AMOUNT
MAIN OFFER
3.001 | PRELIMINARIES & GENERALS | 1 |  | 0
3.002 | FIRE | 2 |  | 0
| SUB TOTAL 1 |  |  | 0
| ADD 10% CONTINGENCY |  |  | 0
| SUB TOTAL 2 |  |  | 0
| ADD 15% VAT |  |  | 0
| TRADE DISCOUNT |  |  | 0
| TOTAL |  |  | 0
| SETTLEMENT DISCOUNT |  |  | 0
Definition of discounts
· A settlement discount is where a business offers the CSIR a discount when an invoice is paid on time or within 45 days from receipt of the statement.
· A trade discount is defined as a type of discount that is cut off the retail or proposal price of an item. The discount is immediately deducted from the proposal price.
Company Representative: Name |  |  | Capacity
Signature |  |  | Date