## Cover Page
BILL OF MATERIALS BUILDING 22 ARCHIVE ROOMS GAS SUPPRESSION ONCE OFF 10 YEARLY PRESSURE TESTING AND MAINTENANCE OF ALL ASSOSCIATED COMPONENTS

## Preliminaries & Generals
SUBJECT : BILL OF QUANTITIES
PART 1
BUILDING 22 ARCHIVE ROOMS GAS SUPPRESSION ONCE OFF 10 YEARLY PRESSURE TESTING AND MAINTENANCE OF ALL ASSOSCIATED COMPONENTS
BILL NO. 1 - PRELIMINARIES & GENERAL
ITEM NO | DESCRIPTION | UNIT | RATE | TENDERED BOQ QUANTITY | TENDERED AMOUNT
Preliminaries and General
1.001 | Twelve month guarantee | sum | 0 | 1 | 0
1.002 | Transportation | sum | 0 | 1 | 0
1.003 | Hiring of scaffolding and Rigging of the equipments | sum | 0 | 1 | 0
1.004 | Issuing of Compliance Certificate (COC) | sum | 0 | 1 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0

## Gas Suppression Test
SUBJECT : BILL OF QUANTITIES
PART 2
BUILDING 22 ARCHIVE ROOMS GAS SUPPRESSION ONCE OFF 10 YEARLY PRESSURE TESTING AND MAINTENANCE OF ALL ASSOSCIATED COMPONENTS
BILL NO. 2 - FIRE
ITEM NO | DESCRIPTION | UNIT | RATE | TENDERED BOQ QUANTITY | TENDERED AMOUNT
BUILDING 22 ARCHIVE ROOM
2.001 | Removal of cylinders for hydrotesting | No | 0 | 14 | 0
2.002 | 10 yearly cylinders pressure testing (total weight is 80kg each cylinder) | No | 0 | 14 | 0
2.003 | Refill 14 x cylinders with the appropriate fire suppression agent (HFC-227) | Sum | 0 | 1 | 0
2.004 | Testing of all assosciatd components for proper functioality such as control panels, detectors, and detonators or electromagnetic release devices, electrical wiring and all other relevant components. | Sum | 0 | 1 | 0
2.005 | Testing, commissioning & programming of gas suppression, fire detection & alarm system | Sum | 0 | 1 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0

## Summary
SUBJECT : BILL OF QUANTITIES
PART 3
BUILDING 22 ARCHIVE ROOMS GAS SUPPRESSION ONCE OFF 10 YEARLY PRESSURE TESTING AND MAINTENANCE OF ALL ASSOSCIATED COMPONENTS
BILL NO. 3 - SUMMARY
ITEM NO | DESCRIPTION | FROM PART NO. | PAGE NO. | TENDERED AMOUNT
MAIN OFFER
3.001 | PRELIMINARIES & GENERALS | 1 |  | 0
3.002 | GAS SUPPRESSION TEST | 2 |  | 0
| SUB TOTAL 1 |  |  | 0
| ADD 10% CONTINGENCY |  |  | 0
| SUB TOTAL 2 |  |  | 0
| ADD 15% VAT |  |  | 0
| TOTAL |  |  | 0