## Cover page
PRICING SUBMISSION
RFP NO: |  | 3712/03/12/2025
RFP NAME: |  | The Supply, Maintenance and Repairs of the CSIR ICT Cabling Infrastructure for a period of five (5) years on an “as and when required basis
BIDDER NAME
Intructions:
1 | Bidders must input their company name on the blue field labelled "Bidder's Name" on all such fields of the pricing template.
2 | Bidders are required to complete all cells highlighted in "Blue" only.
3 | Bidders must ensure that the total price is inclusive of VAT
4 | The pricing must remain firm for contract duration; CSIR reserves the right to negotiate with the recommended bidder prior to signing of the contract.
5 | Pricing must be provided in South African Rand (including all applicable taxes less all unconditional discounts). The discounts must be reflected on the pricing schedule.
6 | Bidders MUST NOT change the Pricing Template. CSIR may at its sole discretion disqualify a bid in the event that the pricing template has been changed.
7 | The quoted prices MUSTbe inclusive of all CSIR' requirements as per the Specification document. No additional costs will be considered post award.
8 | Bidders are required to complete pricing for ALL ITEMS
9 | CSIR reserves the right to terminate the contract of any listed items within the duration of the contract. Should there be a change in business need that lead to the license and or subscription not required for the remainder of the contract the CSIR will in writing give a ninety (90) days termination notice to the winning bidder
10 | Bidders are required to clearly indicate their proposed annual escalation and thereafter provide basis of such annual escalation (e.g. CPI). It is the sole responsibility of the Bidder to ensure all factors for this basis have been considered. CSIR will not allow any additional costs for consideration over what has been submitted by the Bidder.
Company Representative: Name |  |  | Capacity
Signature |  |  | Date

## Catalogue Pricing
RFP Number: | 3712/03/12/2025
RFP Name:: | The Supply, Maintenance and Repairs of the CSIR ICT Cabling Infrastructure for a period of five (5) years on an “as and when required basis
Bidder Name:
Equipment related prices
Qauntity | Description | Unit of Measure | Material Unit Price (Year 1) | Material Unit Price (Year 2) | Material Unit Price (Year 3) | Material Unit Price (Year 4) | Material Unit Price (Year 5)
General Infrastructure
1 | 25 U floor standing cabinet/rack, 600mm x 800mm,black, perforated front and back doors | Each
1 | 36 U floor standing cabinet/rack, 600mm x 800mm,black, perforated front and back doors | Each
1 | 42 U floor standing cabinet/rack, 600mm x 800mm,black, perforated front and back doors | Each
1 | Lockable castors set per rack | Each
1 | Plinth per rack 600mm x 800mm x 100mm, black | Each
1 | 6 Way PDU, 15A standard non keyed SA 3 prong plug outlets, 15A trip switch | Each
1 | 10 Way PDU, 15A standard non keyed SA 3 prong plug outlets, 15A trip switch | Each
1 | 1 U long Brush panel, black | Each
1 | 1U Black blanking plate | Each
1 | 2 U Black blanking plate | Each
1 | 4 U Black blanking plate | Each
1 | 6 U Black blanking plate | Each
1 | 500 qty Cage nuts and screw (washers excluded) | Per 500
Routing and Trenching (Per lignth or item)
1 | Dual steel power/data skirting, gunship grey, (typical CabStrut P801) | Each
1 | 32 mm Bosal pipe | Each
1 | 32 mm PVC pipe | Each
1 | 50mm Bosal pipe | Each
1 | 50 mm PVC pipe | Each
1 | 32 mm Bosal 90 degree bend | Each
1 | 32 mm Bosal pipe coupler | Each
1 | 32 mm Bosal 45 degree bend | Each
1 | 50 mm Bosal 90 degree bend | Each
1 | 50 mm Bosal pipe coupler | Each
1 | 50 mm Bosal 45 degree degree bend | Each
1 | SA Plastikor Rainbird Valve Box, standard, (used as inspection holes) | Each
1 | 110mm PVC flexible pipes (plus fittings) | Each
1 | PVC Ega Trunking, white, 40mm x 25mm | Each
1 | PVC Ega Trunking, white, 40mm x 40mm | Each
1 | PVC Ega Trunking, white, 100mm x 40mm | Each
1 | PVC Ega Trunking, white, 25mm x 25mm | Each
1 | Trench per one meter, soft soil (this includes labour, backfilling and re-instating) | Each
1 | Trench per one meter, hard soil (this includes labour, backfilling and re-instating) | Each
1 | Trench per one meter, rocky terrain (this includes labour, backfilling and re-instating) | Each
1 | Trench per one meter, tar road (this includes labour, backfilling and re-instating) | Each
1 | 150mm x 50mm Cabstrut Welded Mesh Cable Tray with fittings per length | Each
1 | 150mm x 50mm Cabstrut Welded Mesh Cable Tray Horisontal 90 bend with fittings per length | Each
1 | 300mm x 50mm Cabstrut Welded Mesh Cable Tray with fittings per length | Each
1 | 300mm x 50mm Cabstrut Welded Mesh Cable Tray Horisontal 90 bend with fittings per length | Each
Fiber Optic cabling
1 | Single Mode, LC – LC, 2m patch lead | Each
1 | Single Mode, LC – LC, 3m fly lead | Each
1 | Single Mode, LC – LC, 5m patch lead | Each
1 | Single Mode, LC – LC, 10m patch lead | Each
1 | Single Mode, LC – LC, 20m patch lead | Each
1 | Single Mode, LC – LC, 30m patch lead | Each
1 | Multi Mode, LC – LC, 2m patch lead | Each
1 | Multi Mode, LC – LC, 3m fly lead | Each
1 | 24 port, 1U, black, fiber optic patch panel, (including gland, 24 x 1m pigtails and 12 mduplex midcouplers) | Each
1 | 12 port, 1U, black, fiber optic patch panel, (including gland, 12 x 1m pigtails and 6 duplex midcouplers) | Each
1 | 24 port, 1U, black, fiber optic patch panel, (Unpopulated) | Each
1 | 1 m UNJ SM Pigtail | Each
1 | SM LC - LC Duplex midcoupler | Each
1 | MM LC-LC Duplex midcoupler | Each
1 | Ruggedized Single Mode fiber, 1pair, LC-LC, 20m | Each
1 | Ruggedized Single Mode fiber, 1pair, LC-LC, 50m | Each
1 | Ruggedized Single Mode fiber, 1pair, LC-LC, 100m | Each
1 | Single Mode fiber, 12 core, underground cable, per meter | Each
1 | Single Mode fiber, 24 core, underground cable, per meter | Each
1 | Single Mode fiber, 48 core, underground cable, per meter | Each
1 | Multi Mode fiber, 12 core, underground cable, per meter | Each
1 | Multi Mode fiber, 24 core, underground cable, per meter | Each
1 | Multi Mode fiber, 48 core, underground cable, per meter | Each
1 | OFS Fiber Optic Splice Closure (CLOSURE,GPJ09-(FK-CEO-4M)-144-W/ SPL TRAY) | Each
1 | Cost per splice (include all sundries per splice) | Each
Copper cabling
1 | CAT6, grey, 2m patch lead | Each
1 | CAT6, grey, 3m fly lead | Each
1 | CAT6, grey, 5m fly lead | Each
1 | CAT6, grey, 10m fly lead | Each
1 | CAT6, grey, 20m fly lead | Each
1 | CAT6, grey, 50m fly lead | Each
1 | CAT6 cable per meter (non-stranded) | Each
1 | Surface mount single point termination enclosure (CAT6 termination block included) | Each
1 | Surface mount dual point termination enclosure (CAT6 termination block included) | Each
1 | Flush mount single point termination enclosure (CAT6 termination block included) | Each
1 | Flush mount dual point termination enclosure (CAT6 termination block included) | Each
1 | 24 Port, 1U, black, CAT6, patch panel | Each
Specifics
1 | PatchSee CAT6, black, 3m patch lead | Each
1 | PatchSee CAT6, black, 5m patch lead | Each
1 | PatchSee CAT6, black, 7m patch lead | Each
1 | PatchSee CAT6, black, 9m patch lead | Each
1 | PatchSee CAT6, black, 15m patch lead | Each
1 | Traceable Fibre Optic, SM, 3m patch lead | Each
1 | Traceable Fibre Optic, SM, 5m patch lead | Each
1 | Traceable Fibre Optic, SM, 7m patch lead | Each
1 | Traceable Fibre Optic, SM, 9m patch lead | Each
1 | Traceable Fibre Optic, SM, 11m patch lead | Each
1 | Traceable Fibre Optic, SM, 15m patch lead | Each
1 | APC NetShelter SX 42U (AR3100) | Each
1 | APC Metered PDU (AP8853) | Each
1 | APC Smart UPS 1500 RM Single phase 230V | Each
1 | APC Smart UPS 3000 RM Single phase 230V | Each
1 | APC Smart UPS 5000 RM Single phase 230V | Each
1 | GP 12170 CSB 12V 17 AH battery | Each
1 | HR 1221W CSB 12V 21W battery | Each
1 | RHI-NODE 300 access chamber (manhole) | Each
1 | RHI-NODE 600 access chamber (manhole) | Each
1 | RHI-NODE 1000 access chamber (manhole) | Each
1 | RHI-NODE 1000 access chamber (manhole) | Each
1 | Street Fiber Optic termination bos (Smart Cabin UNI4-310 Huber & Suhner) | Each
|  | Total price exclusive of VAT | 0 | 0 | 0 | 0 | 0
|  | VAT | 0 | 0 | 0 | 0 | 0
Trade discount
|  | Total amount inclusive of VAT | 0 | 0 | 0 | 0 | 0
|  | Settlement discount % | 0% | 0% | 0% | 0% | 0%
Labour related price (Maitenance and Support)
Quantity/Hour | Labour unit price (Normal Hours) | Price for normal hours | Price for after hours installation | Sat/Sun and Public Holidays
1 | Cost per new CAT6 point (2m patch lead, 3m fly lead, termination box, 60m average) | 0 | 0 | 0
1 | Cost per fiber cable install external to building per meter (trenching excluded) | 0 | 0 | 0
1 | Cost per fiber cable install internal to building per meter (building of routing excluded) | 0 | 0 | 0
1 | Cost to repair a CAT 5/6 network point | 0 | 0
1 | Cost to diagnose a fiber optic cable fault | 0 | 0 | 0
1 | Call out fees (should be included into tender items, should not be billed additionally) | 0 | 0 | 0
1 | Cost to give quotations should be included in this tender and may not be billed additionally | 0 | 0 | 0
1 | Project management cost indicated in either a percentage of overall project cost
1 | Labour cost per hour, per body, for ad-Hoc requests (to be determined by the CSIR and mutually agreed upon) | 0 | 0 | 0
Definition of discounts
A settlement discount is where a business offers the CSIR a discount when an invoice is paid on time or within 45 days from receipt of statement.
A trade discount is defined as a type of discount that is immediately deducted from the retail or proposal price of an item.
Company Representative:Name |  | Capacity
Signature |  | Date