## Summary
Cost Summary
Building | Costs (Excl VAT)
36 monthly external, internal inspections and pressure testing
3 yearly boiler pressure testing, inspection and major service
Steam pipe inspection and NDT testing
Risk based inspection- Wind tunnels
Risk Assessment for Associated Piping of Pressure Equipment
Total Cost (Excl VAT) | 0
20% Contingency | 0
Sub Total ( Total Cost + 20% Contingency) | 0
15% VAT | 0
Total Cost (Inc VAT) | 0

## Steam Generator
3 yearly boiler pressure testing, inspection and major service
Building | Serial No | Equipment description | Pressure | Capacity | Year of Manufacture |  | Next inspection | Annual inspection - year 1 - Cost - (Excl VAT) | Annual inspection - year 2 - Cost -(Excl VAT) | 3 Yearly pressure testing and inspection Cost (Excl VAT) | Major Boiler service- Cost (Excl VAT) | Annual inspection - year 4 - Cost- (Excl VAT) | Annual inspection - year 5 - Cost - (Excl VAT) | Total cost over 5 years-(Excl VAT)
BLD 18 | W28 | Steam Generator | 1000 Kpa | 450Kg/h | 1983 | marshall fowler | 2024-01-01 | [6 empty] | 0
BLD 18 | 74319 | Steam Generator | 1100 Kpa | 1000kg/h | 2011 | John Thompson | 2024-01-11 | [6 empty] | 0
Paardefontain | PY 1803 | Electrical vertical Steam Generator | 1000kpa | 100kg/h | 2018 | Top Steam SA | 2025-10-10 | [6 empty] | 0
Durban | 3154 | Steam generator | 2790kpa | 0.124m3 | 2022 | John Thompson | 2025-12-05 | [6 empty] | 0
Total Cost (Excl VAT) | [13 empty] | 0
15% VAT | [13 empty] | 0
Total Cost (Inc VAT) | [13 empty] | 0

## New Pressure Equipment
New pressure equipment and precommissioning and pressure test
Pressure Equipment | Capacity range (liters) | Rate/unit | Rate/unit | Rate/unit | Rate/unit | Rate/unit
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Pressure testing | 0-499L
Pressure testing | 500L-999L
Pressure testing | 1000L – 1999L
Pressure testing | 2000L-4000L
Precommissioning | 0-499L
Precommissioning | 500L-999L
Precommissioning | 1000L – 1999L
Precommissioning | 2000L-4000L
Conformity assessment | 0-499L
Conformity assessment | 500L-999L

## Steam NDT
Steam pipe inspection and NDT testing
| Building | Equipment description | Next inspection | Inspection costs (Excl VAT) | Inspection costs (Excl VAT) | Inspection costs (Excl VAT) | Inspection costs (Excl VAT) | Inspection costs (Excl VAT)
|  |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
x rays on piping and wall thickness on steam piping | CSIR Pretoria | Steam pipes | TBC
x rays on piping and wall thickness on steam piping | CSIR Paardefontain | Steam pipes | TBC
x rays on piping and wall thickness on steam piping | CSIR Durban | Steam pipes | TBC
NDT test consumables | _
Total Cost (Excl VAT) | [7 empty] | 0
15% VAT | [7 empty] | 0
Total Cost (Inc VAT) | [7 empty] | 0

## Structural Integrity (Non-press
Structural Integrity
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| Rate/per hour | Rate/per hour | Rate/per hour | Rate/per hour | Rate/per hour
NDT level 1
NDT level 2
NDT level 3
Quality inspector/AIA
Total
Traveling Rates
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| Rate/KM | Rate/KM | Rate/KM | Rate/KM | Rate/KM
Travelling

## Risk based inspection
Risk based inspection- Wind tunnel
Building | Equipment description | Speed | Pressure |  | Year of manufacture | AIA rate per hour risk based inspection (Excl VAT)
BLD 16 | low speed wind tunnel - Mitsubishi Heavy industries | 161rmp | _ |  | 1966
BLD 11 | medium speed wind tunnel - DHE Broderick works | _ | 167kpa operating pressure |  | 1987
BLD 11 | high speed wind tunnel- | N/A | N/A |  | N/A
Total Cost (Excl VAT)
15% VAT
Total Cost (Inc VAT)
Risk based inspection- Wind tunnel
Building | Equipment description | Serial no | Design Pressure Helium Vessel | Design Pressure Nitrogen Vessel | Year of manufacture | AIA rate per hour risk based inspection (Excl VAT)
BLD 16 | Nuclear Magnetic Resonance (Vessel inside a vessel) CE0040 | MRY0020658 | 1-9bar | 9bar | 2008
Total Cost (Excl VAT)
15% VAT
Total Cost (Inc VAT)

## Pipeline risk assessment
Risk Assessment for Associated Piping of Pressure Equipment
| Building | Equipment description | Year 1 costs (Excl VAT) | Year 2 costs (Excl VAT) | Year 3 costs (Excl VAT) | Year 4 costs (Excl VAT) | Year 5 costs (Excl VAT)
Risk Assessment | CSIR Pretoria | Associated Piping of Pressure Equipment
NB refer to Annexure C

## Annexure C
RISK ASSESSMENT
No | Item | Unique Number | Hazard Category | Probability of Failure | Consequence of Failure | Risk Factor | Indicator
1 | Pipeline | Air Line 1 – 11 | I | 1 | 1 | 1
2 | Pipeline | Air Line 2 – 11 | SEP | 1 | 1 | 1
3 | Pipeline | Air Line 3 – 11 | SEP | 1 | 1 | 1
4 | Pipeline | Air Line 4 – 11 | SEP | 1 | 1 | 1
5 | Pipeline | Air Line 5 – 11 | SEP | 1 | 1 | 1
6 | Pipeline | Air Line 6 – 11 | SEP | 1 | 1 | 1
7 | Pipeline | Air Line 7 – 11 | SEP | 1 | 1 | 1
8 | Pipeline | Air Line 8 – 11 | SEP | 1 | 1 | 1
9 | Pipeline | Air Line 1 -12 | SEP | 1 | 1
10 | Pipeline | Air Line 2 -12 | SEP | 1 | 1 | 1
11 | Pipeline | Air Line 3 -12 | SEP | 1 | 1 | 1
12 | Pipeline | Air Line 4 -12 | SEP | 1 | 1 | 1
13 | Pipeline | Air Line 5 -12 | SEP | 1 | 1 | 1
14 | Pipeline | Air Line 6 -12 | I | 1 | 1 | 1
15 | Pipeline | Air Line 7 -12 | I | 1 | 1 | 1
16 | Pipeline | Air Line 8 -12 | I | 1 | 1 | 1
17 | Pipeline | Air Line 9 -12 | I | 1 | 1 | 1
18 | Pipeline | Air Line 10 -12 | I | 1 | 1 | 1
19 | Pipeline | Air Line 11 -12 | I | 1 | 1 | 1
20 | Pipeline | Air Line 12 -12 | I | 1 | 1 | 1
21 | Pipeline | Air Line 13 -12 | SEP | 1 | 1 | 1
22 | Pipeline | Air Line 14 - 12 | SEP | 1 | 1 | 1
23 | Pipeline | Air Line 1 – 15 | SEP | 1 | 1 | 1
24 | Pipeline | Air Line 2 - 15 | SEP | 1 | 1 | 1
25 | Pipeline | Air Line 1 - 18 | SEP | 1 | 1 | 1
26 | Pipeline | Air Line 1 – 36 | SEP | 1 | 1 | 1
27 | Pipeline | Air Line 2 - 36 | SEP | 1 | 1 | 1
28 | Pipeline | Cooling Tower Water Pipeline 1 - 11 | SEP | 1 | 1 | 1
29 | Pipeline | Cooling Tower Water Pipeline 2 - 11 | SEP | 1 | 1 | 1
30 | Pipeline | Cooling Tower Water Pipeline 3 - 11 | SEP | 1 | 1 | 1
31 | Pipeline | Supply Water Pipeline Inlet 1 - 15 | SEP | 1 | 1 | 1
32 | Pipeline | Supply Water Pipeline Return 2 - 15 | SEP | 1 | 1 | 1
33 | Pipeline | Chiller Pipeline Water Supply 1 - 18 | SEP | 1 | 1 | 1
34 | Pipeline | Chiller Pipeline Water Return 2 - 18 | SEP | 1 | 1 | 1
35 | Pipeline | Waterline Supply 1 – 19C | SEP | 1 | 1 | 1
36 | Pipeline | Waterline Return 2 – 19C | SEP | 1 | 1 | 1
37 | Pipeline | Waterline Supply 3 – 19C | SEP | 1 | 1 | 1
38 | Pipeline | Waterline Return 4 – 19C | SEP | 1 | 1 | 1
39 | Pipeline | Oil Line 1 – 11 | II | 2 | 3 | 6
40 | Pipeline | Oil Line 2 – 11 | II | 2 | 3 | 6
41 | Pipeline | Oil Line 3 – 11 | II | 2 | 3 | 6
42 | Pipeline | Oil Line 4 – 11 | II | 2 | 3 | 6
43 | Pipeline | Oil Line 5– 11 | II | 2 | 3 | 6
44 | Pipeline | Oil Line 6 – 11 | II | 2 | 3 | 6
45 | Pipeline | Oil Line 1 – 12 | II | 2 | 3 | 6
46 | Pipeline | Oil Line 2– 12 | II | 2 | 3 | 6
47 | Pipeline | Oil Line 3 – 12 | II | 2 | 3 | 6
48 | Pipeline | Oil Line 4 – 12 | II | 2 | 3 | 6
49 | Pipeline | Oil Line 1 – 15 | II | 2 | 3 | 6
50 | Pipeline | Oil Line 2 – 15 | II | 2 | 3 | 6
51 | Pipeline | Oil Line 1 – 36 | II | 2 | 3 | 6
52 | Pipeline | Flexi Oil Line 1 – 15 | II | 2 | 3 | 6
53 | Pipeline | Flexi Oil Line 2 - 15 | II | 2 | 3 | 6
54 | Pipeline | Flexi Oil Line 3 – 15 | II | 2 | 3 | 6
55 | Pipeline | Flexi Oil Line 1 – 36 | II | 2 | 3 | 6
56 | Pipeline | Steam Line 1 - 18 | SEP | 3 | 3 | 9